Reset SPS

After a certain amount of time SPS will generate an out-of-memory problem.  This usually causes the actual RSE on SAMS to rise.  To avoid this  SPS should be reset..

- First,  locate the KVM Switch panel on the equipment rack.  Press button #3.  Immediately to

the left of the equipment rack, the Frijole monitor will display the SPS GUI.

- If SAMS is open-looped, you may exit the SPS GUI by selecting Exit from the File menu.

Otherwise, you cannot exit SPS until the busy light on PMC is off.

- Wait at least 5 seconds before starting the SPS software.  Double click on the SPS v2.0.16

The GUI should appear instantaneously.