HET OPERATIONS ENGINEER MANUAL:  PMC SYSTEM (JOVE) STARTUP (REV:08.08.04)

PMC SYSTEM  STARTUP

General Description:

The following procedure initializes the Primary Mirror Control system for primary mirror segment manipulation, and monitoring of dome and truss temperatures.

Initial Conditions:

A)  Jove should already be up and running.  See JOVE CDE section

- Initiate a session with smoke on monitor 0 screen 1.

3.1  Using the right mouse button, click on the blue background; a menu will appear.

3.2  Move the cursor to the ‘smoke’ button and release the mouse button.

3.3  Wait for a smoke window with a prompt to appear before proceeding.

- Initialize the Primary Mirror Control System and the Primary Mirror User interfaces.

  - At the smoke prompt type ‘startwork’ in small case.

  - After a brief period of time two interfaces will appear.  The “primary user interface’ monitors the truss and dome interior air temperatures.  The ‘primary mirror control system interface’ controls the primary mirror segments.

  - This concludes the PMC  system startup.